## Colors (hidden)
0 | 0 | 0 | 0 | 133 | 126 | 189 | 189
1 | 255 | 0 | 0
2 | 255 | 255 | 0
3 | 0 | 255 | 0
4 | 0 | 255 | 255
5 | 0 | 0 | 255
6 | 255 | 0 | 255
7 | 255 | 255 | 255
8 | 65 | 65 | 65
9 | 128 | 128 | 128
10 | 255 | 0 | 0
11 | 255 | 170 | 170
12 | 189 | 0 | 0
13 | 189 | 126 | 126
14 | 129 | 0 | 0
15 | 129 | 86 | 86
16 | 104 | 0 | 0
17 | 104 | 69 | 69
18 | 79 | 0 | 0
19 | 79 | 53 | 53
20 | 255 | 63 | 0
21 | 255 | 191 | 170
22 | 189 | 46 | 0
23 | 189 | 141 | 126
24 | 129 | 31 | 0
25 | 129 | 96 | 86
26 | 104 | 25 | 0
27 | 104 | 78 | 69
28 | 79 | 19 | 0
29 | 79 | 59 | 53
30 | 255 | 127 | 0
31 | 255 | 212 | 170
32 | 189 | 94 | 0
33 | 189 | 157 | 126
34 | 129 | 64 | 0
35 | 129 | 107 | 86
36 | 104 | 52 | 0
37 | 104 | 86 | 69
38 | 79 | 39 | 0
39 | 79 | 66 | 53
40 | 255 | 191 | 0
41 | 255 | 234 | 170
42 | 189 | 141 | 0
43 | 189 | 173 | 126
44 | 129 | 96 | 0
45 | 129 | 118 | 86
46 | 104 | 78 | 0
47 | 104 | 95 | 69
48 | 79 | 59 | 0
49 | 79 | 73 | 53
50 | 255 | 255 | 0
51 | 255 | 255 | 170
52 | 189 | 189 | 0
53 | 189 | 189 | 126
54 | 129 | 129 | 0
55 | 129 | 129 | 86
56 | 104 | 104 | 0
57 | 104 | 104 | 69
58 | 79 | 79 | 0
59 | 79 | 79 | 53
60 | 191 | 255 | 0
61 | 234 | 255 | 170
62 | 141 | 189 | 0
63 | 173 | 189 | 126
64 | 96 | 129 | 0
65 | 118 | 129 | 86
66 | 78 | 104 | 0
67 | 95 | 104 | 69
68 | 59 | 79 | 0
69 | 73 | 79 | 53
70 | 127 | 255 | 0
71 | 212 | 255 | 170
72 | 94 | 189 | 0
73 | 157 | 189 | 126
74 | 64 | 129 | 0
75 | 107 | 129 | 86
76 | 52 | 104 | 0
77 | 86 | 104 | 69
78 | 39 | 79 | 0
79 | 66 | 79 | 53
80 | 63 | 255 | 0
81 | 191 | 255 | 170
82 | 46 | 189 | 0
83 | 141 | 189 | 126
84 | 31 | 129 | 0
85 | 96 | 129 | 86
86 | 25 | 104 | 0
87 | 78 | 104 | 69
88 | 19 | 79 | 0
89 | 59 | 79 | 53
90 | 0 | 255 | 0
91 | 170 | 255 | 170
92 | 0 | 189 | 0
93 | 126 | 189 | 126
94 | 0 | 129 | 0
95 | 86 | 129 | 86
96 | 0 | 104 | 0
97 | 69 | 104 | 69
98 | 0 | 79 | 0
99 | 53 | 79 | 53
100 | 0 | 255 | 63
101 | 170 | 255 | 191
102 | 0 | 189 | 46
103 | 126 | 189 | 141
104 | 0 | 129 | 31
105 | 86 | 129 | 96
106 | 0 | 104 | 25
107 | 69 | 104 | 78
108 | 0 | 79 | 19
109 | 53 | 79 | 59
110 | 0 | 255 | 127
111 | 170 | 255 | 212
112 | 0 | 189 | 94
113 | 126 | 189 | 157
114 | 0 | 129 | 64
115 | 86 | 129 | 107
116 | 0 | 104 | 52
117 | 69 | 104 | 86
118 | 0 | 79 | 39
119 | 53 | 79 | 66
120 | 0 | 255 | 191
121 | 170 | 255 | 234
122 | 0 | 189 | 141
123 | 126 | 189 | 173
124 | 0 | 129 | 96
125 | 86 | 129 | 118
126 | 0 | 104 | 78
127 | 69 | 104 | 95
128 | 0 | 79 | 59
129 | 53 | 79 | 73
130 | 0 | 255 | 255
131 | 170 | 255 | 255
132 | 0 | 189 | 189
133 | 126 | 189 | 189
134 | 0 | 129 | 129
135 | 86 | 129 | 129
136 | 0 | 104 | 104
137 | 69 | 104 | 104
138 | 0 | 79 | 79
139 | 53 | 79 | 79
140 | 0 | 191 | 255
141 | 170 | 234 | 255
142 | 0 | 141 | 189
143 | 126 | 173 | 189
144 | 0 | 96 | 129
145 | 86 | 118 | 129
146 | 0 | 78 | 104
147 | 69 | 95 | 104
148 | 0 | 59 | 79
149 | 53 | 73 | 79
150 | 0 | 127 | 255
151 | 170 | 212 | 255
152 | 0 | 94 | 189
153 | 126 | 157 | 189
154 | 0 | 64 | 129
155 | 86 | 107 | 129
156 | 0 | 52 | 104
157 | 69 | 86 | 104
158 | 0 | 39 | 79
159 | 53 | 66 | 79
160 | 0 | 63 | 255
161 | 170 | 191 | 255
162 | 0 | 46 | 189
163 | 126 | 141 | 189
164 | 0 | 31 | 129
165 | 86 | 96 | 129
166 | 0 | 25 | 104
167 | 69 | 78 | 104
168 | 0 | 19 | 79
169 | 53 | 59 | 79
170 | 0 | 0 | 255
171 | 170 | 170 | 255
172 | 0 | 0 | 189
173 | 126 | 126 | 189
174 | 0 | 0 | 129
175 | 86 | 86 | 129
176 | 0 | 0 | 104
177 | 69 | 69 | 104
178 | 0 | 0 | 79
179 | 53 | 53 | 79
180 | 63 | 0 | 255
181 | 191 | 170 | 255
182 | 46 | 0 | 189
183 | 141 | 126 | 189
184 | 31 | 0 | 129
185 | 96 | 86 | 129
186 | 25 | 0 | 104
187 | 78 | 69 | 104
188 | 19 | 0 | 79
189 | 59 | 53 | 79
190 | 127 | 0 | 255
191 | 212 | 170 | 255
192 | 94 | 0 | 189
193 | 157 | 126 | 189
194 | 64 | 0 | 129
195 | 107 | 86 | 129
196 | 52 | 0 | 104
197 | 86 | 69 | 104
198 | 39 | 0 | 79
199 | 66 | 53 | 79
200 | 191 | 0 | 255
201 | 234 | 170 | 255
202 | 141 | 0 | 189
203 | 173 | 126 | 189
204 | 96 | 0 | 129
205 | 118 | 86 | 129
206 | 78 | 0 | 104
207 | 95 | 69 | 104
208 | 59 | 0 | 79
209 | 73 | 53 | 79
210 | 255 | 0 | 255
211 | 255 | 170 | 255
212 | 189 | 0 | 189
213 | 189 | 126 | 189
214 | 129 | 0 | 129
215 | 129 | 86 | 129
216 | 104 | 0 | 104
217 | 104 | 69 | 104
218 | 79 | 0 | 79
219 | 79 | 53 | 79
220 | 255 | 0 | 191
221 | 255 | 170 | 234
222 | 189 | 0 | 141
223 | 189 | 126 | 173
224 | 129 | 0 | 96
225 | 129 | 86 | 118
226 | 104 | 0 | 78
227 | 104 | 69 | 95
228 | 79 | 0 | 59
229 | 79 | 53 | 73
230 | 255 | 0 | 127
231 | 255 | 170 | 212
232 | 189 | 0 | 94
233 | 189 | 126 | 157
234 | 129 | 0 | 64
235 | 129 | 86 | 107
236 | 104 | 0 | 52
237 | 104 | 69 | 86
238 | 79 | 0 | 39
239 | 79 | 53 | 66
240 | 255 | 0 | 63
241 | 255 | 170 | 191
242 | 189 | 0 | 46
243 | 189 | 126 | 141
244 | 129 | 0 | 31
245 | 129 | 86 | 96
246 | 104 | 0 | 25
247 | 104 | 69 | 78
248 | 79 | 0 | 19
249 | 79 | 53 | 59
250 | 51 | 51 | 51
251 | 80 | 80 | 80
252 | 105 | 105 | 105
253 | 130 | 130 | 130
254 | 190 | 190 | 190
255 | 255 | 255 | 255

## Color Standards
AutoCAD |  |  |  | Color Index #
Service Type Colors
18 | 28 | 38 | 48 | 58 | 68 | 78 | 88 | 98 | 108 | 118 | 128 | 138 | 148 | 158 | 168 | 178 | 188 | 198 | 208 | 218 | 228 | 238 | 248 |  | 13 | Accessory
16 | 26 | 36 | 46 | 56 | 66 | 76 | 86 | 96 | 106 | 116 | 126 | 136 | 146 | 156 | 166 | 176 | 186 | 196 | 206 | 216 | 226 | 236 | 246 |  | 43 | Hanger
14 | 24 | 34 | 44 | 54 | 64 | 74 | 84 | 94 | 104 | 114 | 124 | 134 | 144 | 154 | 164 | 174 | 184 | 194 | 204 | 214 | 224 | 234 | 244 |  | 73 | Sleeve
12 | 22 | 32 | 42 | 52 | 62 | 72 | 82 | 92 | 102 | 112 | 122 | 132 | 142 | 152 | 162 | 172 | 182 | 192 | 202 | 212 | 222 | 232 | 242 | <---- CADmep Service Colors | 103 | Fixtures
10 | 20 | 30 | 40 | 50 | 60 | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | 160 | 170 | 180 | 190 | 200 | 210 | 220 | 230 | 240 | <---- CADmep Anno Colors | 133 | Equipment
[25 empty] | 163 | Layout Point
11 | 21 | 31 | 41 | 51 | 61 | 71 | 81 | 91 | 101 | 111 | 121 | 131 | 141 | 151 | 161 | 171 | 181 | 191 | 201 | 211 | 221 | 231 | 241 |  | 193 | Control Point
13 | 23 | 33 | 43 | 53 | 63 | 73 | 83 | 93 | 103 | 113 | 123 | 133 | 143 | 153 | 163 | 173 | 183 | 193 | 203 | 213 | 223 | 233 | 243 |  | 223 | Access Door
15 | 25 | 35 | 45 | 55 | 65 | 75 | 85 | 95 | 105 | 115 | 125 | 135 | 145 | 155 | 165 | 175 | 185 | 195 | 205 | 215 | 225 | 235 | 245 | <---- XREF Colors | 42 | Valves
17 | 27 | 37 | 47 | 57 | 67 | 77 | 87 | 97 | 107 | 117 | 127 | 137 | 147 | 157 | 167 | 177 | 187 | 197 | 207 | 217 | 227 | 237 | 247 |  | Standard Design Line Colors
19 | 29 | 39 | 49 | 59 | 69 | 79 | 89 | 99 | 109 | 119 | 129 | 139 | 149 | 159 | 169 | 179 | 189 | 199 | 209 | 219 | 229 | 239 | 249
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | [8 empty] | 250 | 251 | 252 | 253 | 254 | 255

## Service Color Sheet
Plumbing |  | Medical Gas |  | Mechanical Piping |  |  | HVAC
12 | Domestic Hot Water | 12 |  | 12 | Heating Water Supply | 12
22 |  | 22 |  | 22 |  | 22
32 | Domestic Hot Water Return | 32 | Medical Vacuum | 32 |  | 32
42 | Sanitary Waste | 42 | Hydrogen | 42 | Compressed Air | 42
52 |  | 52 | Medical Air/Co2 | 52 |  | 52 | Grease Duct
62 | Sanitary Vent | 62 |  | 62 |  | 62
72 |  | 72 | Carbon Dioxide | 72 | Condenser Water Return | 72
82 |  | 82 | Nitrogen | 82 |  | 82 | Exhaust Air
92 | Natural Gas | 92 | Natural Gas | 92 |  | 92
102 |  | 102 | Argon | 102 | Condenser Water Supply | 102
112 |  | 112 | Oxygen | 112 |  | 112
122 | Natural Gas Vent | 122 |  | 122 |  | 122
132 | Storm Drain | 132 |  | 132 | Condensate | 132
142 |  | 142 | Nitrous Oxide | 142 | Chilled Water Supply | 142
152 | Storm Drain Overflow | 152 |  | 152 | Chilled Water Return | 152
162 |  | 162 |  | 162 |  | 162 | Supply Air
172 | Domestic Cold Water | 172 |  | 172 |  | 172
182 |  | 182 | Nitrogen | 182 |  | 182
192 | Grease Waste | 192 |  | 192 |  | 192 | Make-up Air
202 |  | 202 |  | 202 | Steam LP | 202 | Outside Air
212 | Domestic Tempered Water | 212 |  | 212 | Heating Water Return | 212
222 |  | 222 |  | 222 | Steam MP | 222
232 | Domestic 140° Hot Water | 232 | Waste Anesthesia Gas Disposal | 232 |  | 232 | Return Air
242 |  | 242 |  | 242 | Steam HP | 242

## Plot Styles
Color Plot Style
Colors | Screening | Lineweight | Color
XREF Colors | 55 | 0.3 mm | Black
Service Colors | 100 | Use object lineweight | Use object color
Anno Colors | 100 | Use object lineweight | Use object color
All others | 100 | Use object lineweight | Black
Black and White Plot Style
Colors | Screening | Lineweight | Color
XREF Colors | 55 | 0.3 mm | Black
Service Colors | 100 | Use object lineweight | Black
Anno Colors | 100 | Use object lineweight | Black
All others | 100 | Use object lineweight | Black

## Constraints
Piping Constraints | [6 empty] | Duct Constraints
| R | G | B | Color | Pipe Size | DL Width |  | R | G | B | Color | Duct Size | DL Width
| 203 | 75 | 22 |  | 0.125 | 0.0625 |  | 203 | 75 | 22 |  | Rectangular
| 181 | 137 | 0 |  | 0.25 | 0.125 |  | 181 | 137 | 0 |  | 3 | 1
| 133 | 153 | 0 |  | 0.375 | 0.1875 |  | 133 | 153 | 0 |  | 4 | 1
| 42 | 161 | 152 |  | 0.5 | 0.25 |  | 42 | 161 | 152 |  | 6 | 1
| 38 | 139 | 210 |  | 0.75 | 0.375 |  | 38 | 139 | 210 |  | 8 | 1
| 211 | 54 | 130 |  | 1 | 0.5 |  | 211 | 54 | 130 |  | 10 | 1
[5 empty] | 1.25 | 0.625 | [5 empty] | 12 | 2
[5 empty] | 1.5 | 0.75 | [5 empty] | 14 | 2
[5 empty] | 2 | 1 | [5 empty] | 16 | 2
[5 empty] | 2.5 | 1 | [5 empty] | 18 | 2
[5 empty] | 3 | 1 | [5 empty] | 20 | 2
[5 empty] | 4 | 1 | [5 empty] | 22 | 3
[5 empty] | 5 | 1 | [5 empty] | 24 | 3
[5 empty] | 6 | 1 | [5 empty] | 26 | 3
[5 empty] | 8 | 2 | [5 empty] | 28 | 3
[5 empty] | 10 | 2 | [5 empty] | 30 | 3
[5 empty] | 12 | 2
[5 empty] | 14 | 2
[5 empty] | 15 | 2
[5 empty] | 16 | 2
[5 empty] | 18 | 3
[5 empty] | 20 | 3
[5 empty] | 24 | 3
[5 empty] | 30 | 3
[5 empty] | 36 | 3
[5 empty] | 42 | 3
[5 empty] | 48 | 4
Background | 251 | 245 | 226 | BKGRND |  |  | Background | 251 | 245 | 226 | BKGRND
Text | 99 | 121 | 129 | Text |  |  | Text | 99 | 121 | 129 | Text
Highlight | 237 | 230 | 221 | Hightlight |  |  | Highlight | 237 | 230 | 221 | Hightlight
Emphasized | 89 | 112 | 118 | Emphasized |  |  | Emphasized | 89 | 112 | 118 | Emphasized

## Offset Rules
Weld
Weld/Copper | Less than Equal <= (Width x Value) | 3.5 | OS45
Grooved | Less than Equal <= (Width x Value) | 4.0625 | OS45
Groved/Copper | Less than Equal <= (Width x Value) | 3.61 | OS45
Copper | Less than Equal <= (Width x Value) | 3.5 | OS45
PVC
PVC-DWV | Less than Equal <= Value | 8.043 | OS22
| Less than Equal <= Value | 18.124 | OS45
N0-Hub | Less than Equal <= Value | 8.043 | OS22
| Less than Equal <= Value | 18.124 | OS45

## Service Types
ID | Description | ReportType | Mech | Plumbing | Electrical | Color | ReportTypes | Service Type ID
0 | Equipment | Equipment | x | x | x | 133 | Equipment | 0 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 47 | 48 | 51 | 52 | 68 | 70
1 | Rectangular Duct | Duct |  |  |  | SC | Duct | 1 | 2 | 3 | 31 | 32
2 | Round Duct | Duct |  |  |  | SC | Pipework | 4 | 59 | 62 | 63 | 71 | 73 | 100 | 101
3 | Oval Duct | Duct |  |  |  | SC | Electrical | 5
4 | Pipework | Pipework | x | x |  | SC | Flex Duct | 30
5 | Electrical | Electrical |  |  | x | SC | Duct Accessory | 33 | 37 | 46 | 49 | 50 | 67
30 | Flex Duct | Duct |  |  |  | 152 | Air Device | 34
31 | Vent Pipe | Duct |  |  |  | SC | Damper | 35 | 36
32 | Ductboard | Duct |  |  |  | SC | Valves | 53
33 | Duct Accessory | Duct Accessory |  |  |  | 13 | Architectural | 54
34 | Air Device | Air Device |  |  |  |  | Steel | 55
35 | Control Damper | Damper |  |  |  |  | Hanger | 56
36 | Fire Damper | Damper |  |  |  | 12 | Weld | 57
37 | Access Door | Duct Accessory |  |  |  | 223 | Joint | 58
38 | VAV | Equipment | x |  |  | 133 | Sleeves | 60 | 61
39 | AHU | Equipment | x |  |  | 133 | Pipe Accessory | 64 | 74 | 76 | 103
40 | AC Unit - Package | Equipment | x |  |  | 133 | Design Line | 65
41 | Fan Coil Unit | Equipment | x |  |  | 133 | Takeoff Area | 66
42 | Condensing Unit | Equipment | x |  |  | 133 | Electrical Accessory | 69
43 | Exhaust Fan | Equipment |  |  | x | 133 | Electrical Cable | 72
44 | In Line Fan | Equipment |  |  | x | 133 | Sprinkler Head | 75
45 | Relief Fan | Equipment |  |  | x | 133 | Electrical Ladder | 77
46 | Filter | Duct Accessory |  |  |  | 133 | Electrical Basket | 78
47 | Furnance | Equipment |  |  | x | 133 | Electrical Tray | 79
48 | Heat Pump, Water Source | Equipment | x |  | x | 133 | Electrical Trunking | 80
49 | Duct Heater | Duct Accessory |  |  | x | 133 | Electrical Conduit | 81
50 | Coil | Duct Accessory | x |  |  | 133 | Fixtures | 102
51 | Pump | Equipment | x | x | x | 133 | Control Point | 105
52 | Tank | Equipment | x | x |  | 133 | Layout Point | 106
53 | Valve | Valves | x | x |  | SC | Centerline Point | 107
54 | Architectural | Architectural | x | x | x | 253
55 | Steel | Steel | x | x | x | 253
56 | Hanger | Hanger | x | x | x | 43
57 | Weld | Weld | x | x |  | SC
58 | Joint | Joint | x | x | x | SC
59 | Drainage | Pipework |  | x |  | SC
60 | Wall Opening | Sleeves | x | x | x | 73
61 | Floor Opening | Sleeves | x | x | x | 73
62 | Gasket | Pipework | x | x |  | SC
63 | Bolts | Pipework | x | x |  | SC
64 | Pipe Accessory | Pipe Accessory | x | x |  | 13
65 | Design Line | Design Line | x | x | x | 999
66 | Takeoff Area | Takeoff Area
67 | Attenuator | Duct Accessory
68 | Boiler | Equipment | x | x
69 | Electrical Accessory | Electrical Accessory |  |  | x
70 | Fan | Equipment
71 | Flange | Pipework | x | x
72 | Electrical Cable | Electrical Cable |  |  | x
73 | Flex Pipe | Pipework | x | x
74 | Separator | Pipe Accessory | x | x
75 | Sprinkler Head | Sprinkler Head
76 | Strainer | Pipe Accessory | x | x
77 | Electrical Ladder | Electrical Ladder |  |  | x
78 | Electrical Basket | Electrical Basket |  |  | x
79 | Electrical Tray | Electrical Tray |  |  | x
80 | Electrical Trunking | Electrical Trunking |  |  | x
81 | Electrical Conduit | Electrical Conduit |  |  | x
100 | Veriable Bend | Pipework | x | x
101 | Coupling | Pipework | x | x | x
102 | Plumbing Fixture | Fixtures |  | x |  | 133
103 | Cleanout | Pipe Accessory | x | x |  | 133
104 | Floor Drain | Fixtures |  | x |  | 133
105 | Control Point | Control Point | x | x | x | 193
106 | Layout Point | Layout Point | x | x | x | 163
107 | Centerline Point | Centerline Point | x | x | x | 163